{"text_format":"3","workbook":"xlsx","n_sheets":7,"sheets":["DOCPROPERTIES","Part submission warrant","Verification","Inspection report","Inspection report (2)","Inspection report (3)","Historie"],"not_rendered":{"images":14},"read":"whole","date_system":"1900"}

{"sheet":"DOCPROPERTIES","index":0,"n_rows":142,"n_cols":2,"rows_kept":142,"hidden":true}
["ContentTypeId","0x01010079AA59BB33EBCE4197F42633E6DAE1F5"]
["SAP_AUTHOR_DATE","08.11.2022 13:12:18"]
["SAP_AUTHOR_USER","JOCHIMSEN"]
["STATUS_USERNAME_20","JOCHIMSEN"]
["STATUS_DATE_20","08.11.2022 09:16:40"]
["STATUS_REASON_20","X 210PM11 091635"]
["STATUS_USERNAME_25","JOCHIMSEN"]
["STATUS_DATE_25","08.11.2022 09:52:32"]
["STATUS_REASON_25","S 1 210PM11 095228"]
["STATUS_USERNAME_30",""]
["STATUS_DATE_30",""]
["STATUS_REASON_30",""]
["STATUS_USERNAME_31",""]
["STATUS_DATE_31",""]
["STATUS_REASON_31",""]
["STATUS_USERNAME_32",""]
["STATUS_DATE_32",""]
["STATUS_REASON_32",""]
["STATUS_USERNAME_33",""]
["STATUS_DATE_33",""]
["STATUS_REASON_33",""]
["STATUS_USERNAME_35",""]
["STATUS_DATE_35",""]
["STATUS_REASON_35",""]
["STATUS_USERNAME_40",""]
["STATUS_DATE_40",""]
["STATUS_REASON_40",""]
["STATUS_USERNAME_45",""]
["STATUS_DATE_45",""]
["STATUS_REASON_45",""]
["STATUS_USERNAME_50","HAAS"]
["STATUS_DATE_50","14.11.2022 10:34:46"]
["STATUS_REASON_50",""]
["STATUS_USERNAME_60",""]
["STATUS_DATE_60",""]
["STATUS_REASON_60",""]
["STATUS_USERNAME_70",""]
["STATUS_DATE_70",""]
["STATUS_REASON_70",""]
["STATUS_USERNAME_75",""]
["STATUS_DATE_75",""]
["STATUS_REASON_75",""]
["STATUS_USERNAME_80",""]
["STATUS_DATE_80",""]
["STATUS_REASON_80",""]
["STATUS_USERNAME_95",""]
["STATUS_DATE_95",""]
["STATUS_REASON_95",""]
["SAP_REVIEW_1_DATE","14.11.2022 10:34:46"]
["SAP_REVIEW_1_USER","HAAS"]
["ROLE_SME_1",""]
["SAP_REVIEW_2_DATE","14.11.2022 10:34:46"]
["SAP_REVIEW_2_USER","HAAS"]
["ROLE_SME_2",""]
["SAP_REVIEW_3_DATE","14.11.2022 10:34:46"]
["SAP_REVIEW_3_USER","HAAS"]
["ROLE_SME_3",""]
["SAP_REVIEW_4_DATE","14.11.2022 10:34:46"]
["SAP_REVIEW_4_USER","HAAS"]
["ROLE_SME_4",""]
["SAP_REVIEW_QM_DATE","14.11.2022 10:34:46"]
["SAP_REVIEW_QM_USER","HAAS"]
["SAP_REVIEW_FORMAL_DATE",""]
["SAP_REVIEW_FORMAL_USER",""]
["SAP_GLOBAL_RELEASE_DATE",""]
["SAP_GLOBAL_RELEASE_USER",""]
["SAP_REASON_FOR_REJECT",""]
["SAP_REASON_FOR_REFUSED",""]
["SAP_LAST_CHANGE_USER","JOCHIMSEN"]
["SAP_RELEASE_DATE",""]
["SAP_RELEASE_USER",""]
["SAP_RELEASE_TEXT","X 210PM11 091635"]
["SAP_DOCSTATUS","55"]
["SAP_DESCRIPTION","FB Part Submission Warrant"]
["SAP_DOCID","10000037600"]
["SAP_DOCTYPE","TRA"]
["SAP_DOCPART","EN"]
["SAP_DOCVERSION","01"]
["SAP_REVLEVEL",""]
["SAP_DOCTEXT_EN",""]
["SAP_DOCTEXT_DE","FB Part Submission Warrant"]
["SAP_DOCTEXT_EN_1",""]
["SAP_DOCTEXT_DE_1",""]
["SAP_DOCTEXT_EN_2",""]
["SAP_DOCTEXT_DE_2",""]
["SAP_USERNAME","HAAS"]
["SAP_LABORATORY",""]
["SAP_AUTHGROUP",""]
["SAP_CHGNUMBER","500000000079"]
["SAP_VALID_FROM","01.01.3000 00:00:00"]
["TPL_KEY","TPL_FB_EXL_01/TPL/DE/01"]
["GELTUNGSBEREICH",""]
["VERTEILER",""]
["PRODUKTBEZUG",""]
["PROZESSBETEILIGTE",""]
["NORMENBEZUG ISO-13485","Ohne Angabe"]
["NORMENBEZUG_MDR",""]
["NORMENBEZUG_MDSAP",""]
["EINZELNORMEN",""]
["NORMENBEZUG_QSR",""]
["SAP_STATUSTEXT_DE","in Bearbeitung (FR)"]
["SAP_STATUSTEXT_EN","in work (FR)"]
["NORMENBEZUG_ISO-13485",""]
["CHAR_TPL_KEY",""]
["CHAR_PLANNED_REVIEWER_1",""]
["CHAR_PLANNED_REVIEWER_2",""]
["CHAR_PLANNED_REVIEWER_3",""]
["CHAR_PLANNED_REVIEWER_4",""]
["Title","FB Part Submission Warrant"]
["Subject"]
["Author","JOCHIMSEN"]
["Keywords"]
["Comments"]
["Template"]
["Last author","Jochimsen, Markus"]
["Revision number"]
["Application name","Microsoft Excel"]
["Last print date","08.06.2022 10:09:58"]
["Creation date","30.04.2021 05:42:06"]
["Last save time","08.11.2022 13:12:13"]
["Total editing time","0"]
["Number of pages"]
["Number of words"]
["Number of characters"]
["Security","0"]
["Category"]
["Format"]
["Manager"]
["Company","Ziehm Imaging GmbH"]
["Number of bytes"]
["Number of lines"]
["Number of paragraphs"]
["Number of slides"]
["Number of notes"]
["Number of hidden Slides"]
["Number of multimedia clips"]
["Hyperlink base"]
["Number of characters (with spaces)"]
["Content type"]
["Content status"]
["Language"]
["Document version"]

{"sheet":"Part submission warrant","index":1,"n_rows":64,"n_cols":51,"rows_kept":64,"merged":[[1,43,1,47],[1,48,1,54],[2,1,2,53],[3,1,11,25],[3,33,4,34],[3,35,4,41],[3,42,4,53],[5,33,8,34],[5,35,8,41],[5,42,8,53],[9,33,11,34],[9,35,11,41],[9,42,11,53],[13,1,13,53],[15,1,15,18],[15,19,15,53],[16,1,16,14],[16,15,16,18],[16,19,16,32],[16,33,16,36],[16,37,16,49],[16,50,16,53],[17,1,18,14],[17,15,18,18],[17,19,18,32],[17,33,18,36],[17,37,18,49],[17,50,18,53],[19,1,19,18],[19,19,19,36],[19,37,19,49],[19,50,19,53],[20,1,21,18],[20,19,21,36],[20,37,21,49],[20,50,21,53],[22,1,22,9],[22,10,22,18],[22,19,22,27],[22,28,22,36],[23,1,24,9],[23,10,24,18],[23,19,24,27],[26,1,26,28],[26,29,26,52],[28,1,28,19],[28,20,28,28],[29,20,30,28],[31,20,31,28],[32,20,33,28],[34,1,36,28],[39,1,39,53],[41,1,45,53],[47,1,47,53],[49,1,52,53],[54,1,54,53],[56,1,56,17],[56,18,56,34],[56,35,56,51],[57,1,58,17],[57,18,58,34],[57,35,58,51],[59,1,59,17],[59,18,59,34],[59,35,59,51],[60,1,61,17],[60,18,61,34],[60,35,61,51],[63,0,63,54]]}
[]
[{"$nulls":43},"Report no.:"]
[null,"Ziehm Imaging GmbH | Lina-Ammon-Str. 10 | 90471 Nuremberg | Germany"]
[null,"Supplier name\nRoad, house number\nPostal code, City, State, Country\nProduction site",{"$nulls":31},"Ziehm",null,"Order number:\nOrder date:"]
[]
[{"$nulls":33},"Supplier",null,"Creditor:\nContact:\nPhone:\nFax:\nMail:"]
[]
[]
[]
[{"$nulls":33},"Ziehm",null,"Procurement:\nPhone:\nFax:\nMail:"]
[]
[]
[]
[null,"Material information"]
[]
[null,"Supplier",{"$nulls":17},"Ziehm Imaging GmbH"]
[null,"Part no.",{"$nulls":13},"Revision",{"$nulls":3},"Part no.",{"$nulls":13},"Revision",{"$nulls":3},"Drawing/Spezifikation no. ",{"$nulls":12},"Revision"]
[]
[]
[null,"Product description",{"$nulls":17},"Product description",{"$nulls":17},"Soft-/Firmware description",{"$nulls":12},"Revision"]
[]
[]
[null,"Report no.",{"$nulls":8},"Order no.",{"$nulls":8},"Quantity of samples"]
[]
[]
[]
[null,"Submission"]
[]
[null,"Please check at least one Incident",{"$nulls":18},"Submission level"]
[]
[]
[{"$nulls":20},"Notification of Change"]
{"$rows_empty":7}
[null,"Declaration"]
[]
[null,"We herewith confirm that the samples in this part submission confirmation are representative of our serial production and have been manufactured in accordance with applicable customer drawings and specifications. They have been manufactured with the specified materials, using serial tools and according to the serial production process. We further confirm that written evidence of compliance and associated reference samples are archived and available for evaluation. We also guarantee that the quality and characteristics of the series parts which will follow in the future will be identical to the initial samples evaluated in this report.\nFor serial delivery it is not allowed to supply any material deviating from the sample test report without Ziehm Imaging's prior concession."]
[]
[]
[]
[]
[]
[null,"Explanation / Comments"]
[]
[]
[]
[]
[]
[]
[null,"Supplier contact person"]
[]
[null,"Name in block letters",{"$nulls":16},"Signature",{"$nulls":16},"City, Date"]
[]
[]
[null,"Job / Department",{"$nulls":16},"Phone number",{"$nulls":16},"Mail address"]
[]
[]
[]
["Applicable document to following agreements: Quality assurance agreement; Supplier Guide: Qualification and approval of new or modified supplier/raw material relationships."]

{"sheet":"Verification","index":2,"n_rows":61,"n_cols":51,"rows_kept":61,"merged":[[2,1,2,53],[4,1,4,18],[4,19,4,53],[5,1,5,14],[5,15,5,18],[5,19,5,32],[5,33,5,36],[5,37,5,49],[5,50,5,53],[6,1,7,14],[6,15,7,18],[6,19,7,32],[6,33,7,36],[6,37,7,49],[6,50,7,53],[8,1,8,18],[8,19,8,36],[8,37,8,49],[8,50,8,53],[9,1,10,18],[9,19,10,36],[9,37,10,49],[9,50,10,53],[11,1,11,9],[11,10,11,18],[12,1,13,9],[12,10,13,18],[15,1,15,53],[17,1,18,14],[17,15,18,20],[17,21,18,53],[19,1,21,14],[19,15,21,20],[19,21,21,53],[22,1,24,14],[22,15,24,20],[22,21,24,53],[25,1,27,14],[25,15,27,20],[25,21,27,53],[28,1,30,14],[28,15,30,20],[28,21,30,53],[31,1,33,14],[31,15,33,20],[31,21,33,53],[34,1,36,14],[34,15,36,20],[34,21,36,53],[37,1,39,14],[37,15,39,20],[37,21,39,53],[40,1,42,14],[40,15,42,20],[40,21,42,53],[44,1,44,53],[46,1,49,53],[51,1,51,53],[53,1,53,17],[53,18,53,34],[53,35,53,51],[54,1,55,17],[54,18,55,34],[54,35,55,51],[56,1,56,17],[56,18,56,34],[56,35,56,51],[57,1,58,17],[57,18,58,34],[57,35,58,51],[60,0,60,54]]}
[]
[]
[null,"Material information"]
[]
[null,"Supplier",{"$nulls":17},"Ziehm Imaging GmbH"]
[null,"Part no.",{"$nulls":13},"Revision",{"$nulls":3},"Part no.",{"$nulls":13},"Revision",{"$nulls":3},"Drawing/Spezifikation no. ",{"$nulls":12},"Revision"]
[null,{"$f":"'Part submission warrant'!B18","v":0},{"$nulls":17},{"$f":"'Part submission warrant'!T18","v":0},{"$nulls":13},{"$f":"'Part submission warrant'!AH18","v":0},{"$nulls":3},{"$f":"'Part submission warrant'!AL18","v":0},{"$nulls":12},{"$f":"'Part submission warrant'!AY18","v":0}]
[]
[null,"Product description",{"$nulls":17},"Product description",{"$nulls":17},"Soft-/Firmware description",{"$nulls":12},"Revision"]
[null,{"$f":"'Part submission warrant'!B21","v":0},{"$nulls":17},{"$f":"'Part submission warrant'!T21","v":0},{"$nulls":17},{"$f":"'Part submission warrant'!AL21","v":0},{"$nulls":12},{"$f":"'Part submission warrant'!AY21","v":0}]
[]
[null,"Report no.",{"$nulls":8},"Order no."]
[null,{"$f":"'Part submission warrant'!B24","v":0},{"$nulls":8},{"$f":"'Part submission warrant'!K24","v":0}]
[]
[]
[null,"Attachment"]
[]
[null,"Attachment",{"$nulls":13},"Date / Revision",{"$nulls":5},"Scope / Titel"]
{"$rows_empty":26}
[null,"Explanation / Comments"]
[]
[]
[]
[]
[]
[]
[null,"Supplier contact person"]
[]
[null,"Name in block letters",{"$nulls":16},"Signature",{"$nulls":16},"City, Date"]
[]
[]
[null,"Job / Department",{"$nulls":16},"Phone number",{"$nulls":16},"Mail address"]
[]
[]
[]
["Applicable document to following agreements: Quality assurance agreement; Supplier Guide: Qualification and approval of new or modified supplier/raw material relationships."]

{"sheet":"Inspection report","index":3,"n_rows":75,"n_cols":54,"rows_kept":75,"merged":[[2,1,2,53],[4,1,4,18],[4,19,4,53],[5,1,5,14],[5,15,5,18],[5,19,5,32],[5,33,5,36],[5,37,5,49],[5,50,5,53],[6,1,7,14],[6,15,7,18],[6,19,7,32],[6,33,7,36],[6,37,7,49],[6,50,7,53],[8,1,8,18],[8,19,8,36],[8,37,8,49],[8,50,8,53],[9,1,10,18],[9,19,10,36],[9,37,10,49],[9,50,10,53],[11,1,11,9],[11,10,11,18],[12,1,13,9],[12,10,13,18],[15,1,15,53],[17,22,17,39],[17,40,17,53],[18,22,19,39],[18,40,19,53],[20,1,23,2],[20,3,21,25],[20,26,21,39],[20,40,21,53],[22,3,23,12],[22,13,23,17],[22,18,23,22],[22,23,23,25],[22,26,23,29],[22,30,23,33],[22,34,23,37],[22,38,23,38],[22,39,23,39],[22,40,23,43],[22,44,23,47],[22,48,23,51],[22,52,23,52],[22,53,23,53],[24,1,25,2],[24,3,25,12],[24,13,25,17],[24,19,24,22],[24,23,25,25],[24,26,25,29],[24,30,25,33],[24,34,25,37],[24,38,25,38],[24,39,25,39],[24,40,25,43],[24,44,25,47],[24,48,25,51],[24,52,25,52],[24,53,25,53],[25,19,25,22],[26,1,27,2],[26,3,27,12],[26,13,27,17],[26,19,26,22],[26,23,27,25],[26,26,27,29],[26,30,27,33],[26,34,27,37],[26,38,27,38],[26,39,27,39],[26,40,27,43],[26,44,27,47],[26,48,27,51],[26,52,27,52],[26,53,27,53],[27,19,27,22],[28,1,29,2],[28,3,29,12],[28,13,29,17],[28,19,28,22],[28,23,29,25],[28,26,29,29],[28,30,29,33],[28,34,29,37],[28,38,29,38],[28,39,29,39],[28,40,29,43],[28,44,29,47],[28,48,29,51],[28,52,29,52],[28,53,29,53],[29,19,29,22],[30,1,31,2],[30,3,31,12],[30,13,31,17],[30,19,30,22],[30,23,31,25],[30,26,31,29],[30,30,31,33],[30,34,31,37],[30,38,31,38],[30,39,31,39],[30,40,31,43],[30,44,31,47],[30,48,31,51],[30,52,31,52],[30,53,31,53],[31,19,31,22],[32,1,33,2],[32,3,33,12],[32,13,33,17],[32,19,32,22],[32,23,33,25],[32,26,33,29],[32,30,33,33],[32,34,33,37],[32,38,33,38],[32,39,33,39],[32,40,33,43],[32,44,33,47],[32,48,33,51],[32,52,33,52],[32,53,33,53],[33,19,33,22],[34,1,35,2],[34,3,35,12],[34,13,35,17],[34,19,34,22],[34,23,35,25],[34,26,35,29],[34,30,35,33],[34,34,35,37],[34,38,35,38],[34,39,35,39],[34,40,35,43],[34,44,35,47],[34,48,35,51],[34,52,35,52],[34,53,35,53],[35,19,35,22],[36,1,37,2],[36,3,37,12],[36,13,37,17],[36,19,36,22],[36,23,37,25],[36,26,37,29],[36,30,37,33],[36,34,37,37],[36,38,37,38],[36,39,37,39],[36,40,37,43],[36,44,37,47],[36,48,37,51],[36,52,37,52],[36,53,37,53],[37,19,37,22],[38,1,39,2],[38,3,39,12],[38,13,39,17],[38,19,38,22],[38,23,39,25],[38,26,39,29],[38,30,39,33],[38,34,39,37],[38,38,39,38],[38,39,39,39],[38,40,39,43],[38,44,39,47],[38,48,39,51],[38,52,39,52],[38,53,39,53],[39,19,39,22],[40,1,41,2],[40,3,41,12],[40,13,41,17],[40,19,40,22],[40,23,41,25],[40,26,41,29],[40,30,41,33],[40,34,41,37],[40,38,41,38],[40,39,41,39],[40,40,41,43],[40,44,41,47],[40,48,41,51],[40,52,41,52],[40,53,41,53],[41,19,41,22],[42,1,43,2],[42,3,43,12],[42,13,43,17],[42,19,42,22],[42,23,43,25],[42,26,43,29],[42,30,43,33],[42,34,43,37],[42,38,43,38],[42,39,43,39],[42,40,43,43],[42,44,43,47],[42,48,43,51],[42,52,43,52],[42,53,43,53],[43,19,43,22],[44,1,45,2],[44,3,45,12],[44,13,45,17],[44,19,44,22],[44,23,45,25],[44,26,45,29],[44,30,45,33],[44,34,45,37],[44,38,45,38],[44,39,45,39],[44,40,45,43],[44,44,45,47],[44,48,45,51],[44,52,45,52],[44,53,45,53],[45,19,45,22],[46,1,47,2],[46,3,47,12],[46,13,47,17],[46,19,46,22],[46,23,47,25],[46,26,47,29],[46,30,47,33],[46,34,47,37],[46,38,47,38],[46,39,47,39],[46,40,47,43],[46,44,47,47],[46,48,47,51],[46,52,47,52],[46,53,47,53],[47,19,47,22],[48,1,49,2],[48,3,49,12],[48,13,49,17],[48,19,48,22],[48,23,49,25],[48,26,49,29],[48,30,49,33],[48,34,49,37],[48,38,49,38],[48,39,49,39],[48,40,49,43],[48,44,49,47],[48,48,49,51],[48,52,49,52],[48,53,49,53],[49,19,49,22],[50,1,51,2],[50,3,51,12],[50,13,51,17],[50,19,50,22],[50,23,51,25],[50,26,51,29],[50,30,51,33],[50,34,51,37],[50,38,51,38],[50,39,51,39],[50,40,51,43],[50,44,51,47],[50,48,51,51],[50,52,51,52],[50,53,51,53],[51,19,51,22],[52,1,53,2],[52,3,53,12],[52,13,53,17],[52,19,52,22],[52,23,53,25],[52,26,53,29],[52,30,53,33],[52,34,53,37],[52,38,53,38],[52,39,53,39],[52,40,53,43],[52,44,53,47],[52,48,53,51],[52,52,53,52],[52,53,53,53],[53,19,53,22],[54,1,55,2],[54,3,55,12],[54,13,55,17],[54,19,54,22],[54,23,55,25],[54,26,55,29],[54,30,55,33],[54,34,55,37],[54,38,55,38],[54,39,55,39],[54,40,55,43],[54,44,55,47],[54,48,55,51],[54,52,55,52],[54,53,55,53],[55,19,55,22],[56,1,57,2],[56,3,57,12],[56,13,57,17],[56,19,56,22],[56,23,57,25],[56,26,57,29],[56,30,57,33],[56,34,57,37],[56,38,57,38],[56,39,57,39],[56,40,57,43],[56,44,57,47],[56,48,57,51],[56,52,57,52],[56,53,57,53],[57,19,57,22],[58,1,59,2],[58,3,59,12],[58,13,59,17],[58,19,58,22],[58,23,59,25],[58,26,59,29],[58,30,59,33],[58,34,59,37],[58,38,59,38],[58,39,59,39],[58,40,59,43],[58,44,59,47],[58,48,59,51],[58,52,59,52],[58,53,59,53],[59,19,59,22],[60,1,61,2],[60,3,61,12],[60,13,61,17],[60,19,60,22],[60,23,61,25],[60,26,61,29],[60,30,61,33],[60,34,61,37],[60,38,61,38],[60,39,61,39],[60,40,61,43],[60,44,61,47],[60,48,61,51],[60,52,61,52],[60,53,61,53],[61,19,61,22],[62,1,63,2],[62,3,63,12],[62,13,63,17],[62,19,62,22],[62,23,63,25],[62,26,63,29],[62,30,63,33],[62,34,63,37],[62,38,63,38],[62,39,63,39],[62,40,63,43],[62,44,63,47],[62,48,63,51],[62,52,63,52],[62,53,63,53],[63,19,63,22],[64,1,65,2],[64,3,65,12],[64,13,65,17],[64,19,64,22],[64,23,65,25],[64,26,65,29],[64,30,65,33],[64,34,65,37],[64,38,65,38],[64,39,65,39],[64,40,65,43],[64,44,65,47],[64,48,65,51],[64,52,65,52],[64,53,65,53],[65,19,65,22],[66,1,67,2],[66,3,67,12],[66,13,67,17],[66,19,66,22],[66,23,67,25],[66,26,67,29],[66,30,67,33],[66,34,67,37],[66,38,67,38],[66,39,67,39],[66,40,67,43],[66,44,67,47],[66,48,67,51],[66,52,67,52],[66,53,67,53],[67,19,67,22],[68,1,69,2],[68,3,69,12],[68,13,69,17],[68,19,68,22],[68,23,69,25],[68,26,69,29],[68,30,69,33],[68,34,69,37],[68,38,69,38],[68,39,69,39],[68,40,69,43],[68,44,69,47],[68,48,69,51],[68,52,69,52],[68,53,69,53],[69,19,69,22],[70,1,71,2],[70,3,71,12],[70,13,71,17],[70,19,70,22],[70,23,71,25],[70,26,71,29],[70,30,71,33],[70,34,71,37],[70,38,71,38],[70,39,71,39],[70,40,71,43],[70,44,71,47],[70,48,71,51],[70,52,71,52],[70,53,71,53],[71,19,71,22],[72,1,73,2],[72,3,73,12],[72,13,73,17],[72,19,72,22],[72,23,73,25],[72,26,73,29],[72,30,73,33],[72,34,73,37],[72,38,73,38],[72,39,73,39],[72,40,73,43],[72,44,73,47],[72,48,73,51],[72,52,73,52],[72,53,73,53],[73,19,73,22],[74,0,74,54]]}
[]
[]
[null,"Material information"]
[]
[null,"Supplier",{"$nulls":17},"Ziehm Imaging GmbH"]
[null,"Part no.",{"$nulls":13},"Revision",{"$nulls":3},"Part no.",{"$nulls":13},"Revision",{"$nulls":3},"Drawing/Spezifikation no. ",{"$nulls":12},"Revision"]
[null,{"$f":"'Part submission warrant'!B18","v":0},{"$nulls":13},{"$f":"'Part submission warrant'!P18","v":0},{"$nulls":3},{"$f":"'Part submission warrant'!T18","v":0},{"$nulls":13},{"$f":"'Part submission warrant'!AH18","v":0},{"$nulls":3},{"$f":"'Part submission warrant'!AL18","v":0},{"$nulls":12},{"$f":"'Part submission warrant'!AY18","v":0}]
[]
[null,"Product description",{"$nulls":17},"Product description",{"$nulls":17},"Soft-/Firmware description",{"$nulls":12},"Revision"]
[null,{"$f":"'Part submission warrant'!B21","v":0},{"$nulls":17},{"$f":"'Part submission warrant'!T21","v":0},{"$nulls":17},{"$f":"'Part submission warrant'!AL21","v":0},{"$nulls":12},{"$f":"'Part submission warrant'!AY21","v":0}]
[]
[null,"Report no.",{"$nulls":8},"Order no."]
[null,{"$f":"'Part submission warrant'!B24","v":0},{"$nulls":8},{"$f":"'Part submission warrant'!K24","v":0}]
[]
[]
[null,"Measurement report"]
[]
[{"$nulls":22},"Supplier (Tester)",{"$nulls":17},"Ziehm Imaging GmbH (QA)"]
[]
[]
[null,"Position",null,"Qualitative and quantitative measurement results",{"$nulls":22},"Supplier measurement",{"$nulls":13},"Ziehm measurement"]
[]
[{"$nulls":3},"Typ",{"$nulls":9},"Value",{"$nulls":4},"Tolerance",{"$nulls":4},"Unit",null,null,"Sample 1",{"$nulls":3},"Sample 2",{"$nulls":3},"Sample 3",{"$nulls":3},"Pass","Fail","Sample 1",{"$nulls":3},"Sample 2",{"$nulls":3},"Sample 3",{"$nulls":3},"Pass","Fail"]
[]
[null,{"v":1,"d":"001"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":2,"d":"002"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":3,"d":"003"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":4,"d":"004"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":5,"d":"005"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":6,"d":"006"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":7,"d":"007"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":8,"d":"008"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":9,"d":"009"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":10,"d":"010"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":11,"d":"011"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":12,"d":"012"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":13,"d":"013"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":14,"d":"014"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":15,"d":"015"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":16,"d":"016"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":17,"d":"017"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":18,"d":"018"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":19,"d":"019"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":20,"d":"020"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":21,"d":"021"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":22,"d":"022"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":23,"d":"023"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":24,"d":"024"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":25,"d":"025"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
["Applicable document to the following agreements: Quality assurance agreement; Supplier Guide: Qualification and approval of new or modified supplier/raw material relationships."]

{"sheet":"Inspection report (2)","index":4,"n_rows":79,"n_cols":54,"rows_kept":79,"merged":[[3,1,6,2],[3,3,4,25],[3,26,4,39],[3,40,4,53],[5,3,6,12],[5,13,6,17],[5,18,6,22],[5,23,6,25],[5,26,6,29],[5,30,6,33],[5,34,6,37],[5,38,6,38],[5,39,6,39],[5,40,6,43],[5,44,6,47],[5,48,6,51],[5,52,6,52],[5,53,6,53],[7,1,8,2],[7,3,8,12],[7,13,8,17],[7,19,7,22],[7,23,8,25],[7,26,8,29],[7,30,8,33],[7,34,8,37],[7,38,8,38],[7,39,8,39],[7,40,8,43],[7,44,8,47],[7,48,8,51],[7,52,8,52],[7,53,8,53],[8,19,8,22],[9,1,10,2],[9,3,10,12],[9,13,10,17],[9,19,9,22],[9,23,10,25],[9,26,10,29],[9,30,10,33],[9,34,10,37],[9,38,10,38],[9,39,10,39],[9,40,10,43],[9,44,10,47],[9,48,10,51],[9,52,10,52],[9,53,10,53],[10,19,10,22],[11,1,12,2],[11,3,12,12],[11,13,12,17],[11,19,11,22],[11,23,12,25],[11,26,12,29],[11,30,12,33],[11,34,12,37],[11,38,12,38],[11,39,12,39],[11,40,12,43],[11,44,12,47],[11,48,12,51],[11,52,12,52],[11,53,12,53],[12,19,12,22],[13,1,14,2],[13,3,14,12],[13,13,14,17],[13,19,13,22],[13,23,14,25],[13,26,14,29],[13,30,14,33],[13,34,14,37],[13,38,14,38],[13,39,14,39],[13,40,14,43],[13,44,14,47],[13,48,14,51],[13,52,14,52],[13,53,14,53],[14,19,14,22],[15,1,16,2],[15,3,16,12],[15,13,16,17],[15,19,15,22],[15,23,16,25],[15,26,16,29],[15,30,16,33],[15,34,16,37],[15,38,16,38],[15,39,16,39],[15,40,16,43],[15,44,16,47],[15,48,16,51],[15,52,16,52],[15,53,16,53],[16,19,16,22],[17,1,18,2],[17,3,18,12],[17,13,18,17],[17,19,17,22],[17,23,18,25],[17,26,18,29],[17,30,18,33],[17,34,18,37],[17,38,18,38],[17,39,18,39],[17,40,18,43],[17,44,18,47],[17,48,18,51],[17,52,18,52],[17,53,18,53],[18,19,18,22],[19,1,20,2],[19,3,20,12],[19,13,20,17],[19,19,19,22],[19,23,20,25],[19,26,20,29],[19,30,20,33],[19,34,20,37],[19,38,20,38],[19,39,20,39],[19,40,20,43],[19,44,20,47],[19,48,20,51],[19,52,20,52],[19,53,20,53],[20,19,20,22],[21,1,22,2],[21,3,22,12],[21,13,22,17],[21,19,21,22],[21,23,22,25],[21,26,22,29],[21,30,22,33],[21,34,22,37],[21,38,22,38],[21,39,22,39],[21,40,22,43],[21,44,22,47],[21,48,22,51],[21,52,22,52],[21,53,22,53],[22,19,22,22],[23,1,24,2],[23,3,24,12],[23,13,24,17],[23,19,23,22],[23,23,24,25],[23,26,24,29],[23,30,24,33],[23,34,24,37],[23,38,24,38],[23,39,24,39],[23,40,24,43],[23,44,24,47],[23,48,24,51],[23,52,24,52],[23,53,24,53],[24,19,24,22],[25,1,26,2],[25,3,26,12],[25,13,26,17],[25,19,25,22],[25,23,26,25],[25,26,26,29],[25,30,26,33],[25,34,26,37],[25,38,26,38],[25,39,26,39],[25,40,26,43],[25,44,26,47],[25,48,26,51],[25,52,26,52],[25,53,26,53],[26,19,26,22],[27,1,28,2],[27,3,28,12],[27,13,28,17],[27,19,27,22],[27,23,28,25],[27,26,28,29],[27,30,28,33],[27,34,28,37],[27,38,28,38],[27,39,28,39],[27,40,28,43],[27,44,28,47],[27,48,28,51],[27,52,28,52],[27,53,28,53],[28,19,28,22],[29,1,30,2],[29,3,30,12],[29,13,30,17],[29,19,29,22],[29,23,30,25],[29,26,30,29],[29,30,30,33],[29,34,30,37],[29,38,30,38],[29,39,30,39],[29,40,30,43],[29,44,30,47],[29,48,30,51],[29,52,30,52],[29,53,30,53],[30,19,30,22],[31,1,32,2],[31,3,32,12],[31,13,32,17],[31,19,31,22],[31,23,32,25],[31,26,32,29],[31,30,32,33],[31,34,32,37],[31,38,32,38],[31,39,32,39],[31,40,32,43],[31,44,32,47],[31,48,32,51],[31,52,32,52],[31,53,32,53],[32,19,32,22],[33,1,34,2],[33,3,34,12],[33,13,34,17],[33,19,33,22],[33,23,34,25],[33,26,34,29],[33,30,34,33],[33,34,34,37],[33,38,34,38],[33,39,34,39],[33,40,34,43],[33,44,34,47],[33,48,34,51],[33,52,34,52],[33,53,34,53],[34,19,34,22],[35,1,36,2],[35,3,36,12],[35,13,36,17],[35,19,35,22],[35,23,36,25],[35,26,36,29],[35,30,36,33],[35,34,36,37],[35,38,36,38],[35,39,36,39],[35,40,36,43],[35,44,36,47],[35,48,36,51],[35,52,36,52],[35,53,36,53],[36,19,36,22],[37,1,38,2],[37,3,38,12],[37,13,38,17],[37,19,37,22],[37,23,38,25],[37,26,38,29],[37,30,38,33],[37,34,38,37],[37,38,38,38],[37,39,38,39],[37,40,38,43],[37,44,38,47],[37,48,38,51],[37,52,38,52],[37,53,38,53],[38,19,38,22],[39,1,40,2],[39,3,40,12],[39,13,40,17],[39,19,39,22],[39,23,40,25],[39,26,40,29],[39,30,40,33],[39,34,40,37],[39,38,40,38],[39,39,40,39],[39,40,40,43],[39,44,40,47],[39,48,40,51],[39,52,40,52],[39,53,40,53],[40,19,40,22],[41,1,42,2],[41,3,42,12],[41,13,42,17],[41,19,41,22],[41,23,42,25],[41,26,42,29],[41,30,42,33],[41,34,42,37],[41,38,42,38],[41,39,42,39],[41,40,42,43],[41,44,42,47],[41,48,42,51],[41,52,42,52],[41,53,42,53],[42,19,42,22],[43,1,44,2],[43,3,44,12],[43,13,44,17],[43,19,43,22],[43,23,44,25],[43,26,44,29],[43,30,44,33],[43,34,44,37],[43,38,44,38],[43,39,44,39],[43,40,44,43],[43,44,44,47],[43,48,44,51],[43,52,44,52],[43,53,44,53],[44,19,44,22],[45,1,46,2],[45,3,46,12],[45,13,46,17],[45,19,45,22],[45,23,46,25],[45,26,46,29],[45,30,46,33],[45,34,46,37],[45,38,46,38],[45,39,46,39],[45,40,46,43],[45,44,46,47],[45,48,46,51],[45,52,46,52],[45,53,46,53],[46,19,46,22],[47,1,48,2],[47,3,48,12],[47,13,48,17],[47,19,47,22],[47,23,48,25],[47,26,48,29],[47,30,48,33],[47,34,48,37],[47,38,48,38],[47,39,48,39],[47,40,48,43],[47,44,48,47],[47,48,48,51],[47,52,48,52],[47,53,48,53],[48,19,48,22],[49,1,50,2],[49,3,50,12],[49,13,50,17],[49,19,49,22],[49,23,50,25],[49,26,50,29],[49,30,50,33],[49,34,50,37],[49,38,50,38],[49,39,50,39],[49,40,50,43],[49,44,50,47],[49,48,50,51],[49,52,50,52],[49,53,50,53],[50,19,50,22],[51,1,52,2],[51,3,52,12],[51,13,52,17],[51,19,51,22],[51,23,52,25],[51,26,52,29],[51,30,52,33],[51,34,52,37],[51,38,52,38],[51,39,52,39],[51,40,52,43],[51,44,52,47],[51,48,52,51],[51,52,52,52],[51,53,52,53],[52,19,52,22],[53,1,54,2],[53,3,54,12],[53,13,54,17],[53,19,53,22],[53,23,54,25],[53,26,54,29],[53,30,54,33],[53,34,54,37],[53,38,54,38],[53,39,54,39],[53,40,54,43],[53,44,54,47],[53,48,54,51],[53,52,54,52],[53,53,54,53],[54,19,54,22],[55,1,56,2],[55,3,56,12],[55,13,56,17],[55,19,55,22],[55,23,56,25],[55,26,56,29],[55,30,56,33],[55,34,56,37],[55,38,56,38],[55,39,56,39],[55,40,56,43],[55,44,56,47],[55,48,56,51],[55,52,56,52],[55,53,56,53],[56,19,56,22],[57,1,58,2],[57,3,58,12],[57,13,58,17],[57,19,57,22],[57,23,58,25],[57,26,58,29],[57,30,58,33],[57,34,58,37],[57,38,58,38],[57,39,58,39],[57,40,58,43],[57,44,58,47],[57,48,58,51],[57,52,58,52],[57,53,58,53],[58,19,58,22],[59,1,60,2],[59,3,60,12],[59,13,60,17],[59,19,59,22],[59,23,60,25],[59,26,60,29],[59,30,60,33],[59,34,60,37],[59,38,60,38],[59,39,60,39],[59,40,60,43],[59,44,60,47],[59,48,60,51],[59,52,60,52],[59,53,60,53],[60,19,60,22],[61,1,62,2],[61,3,62,12],[61,13,62,17],[61,19,61,22],[61,23,62,25],[61,26,62,29],[61,30,62,33],[61,34,62,37],[61,38,62,38],[61,39,62,39],[61,40,62,43],[61,44,62,47],[61,48,62,51],[61,52,62,52],[61,53,62,53],[62,19,62,22],[63,1,64,2],[63,3,64,12],[63,13,64,17],[63,19,63,22],[63,23,64,25],[63,26,64,29],[63,30,64,33],[63,34,64,37],[63,38,64,38],[63,39,64,39],[63,40,64,43],[63,44,64,47],[63,48,64,51],[63,52,64,52],[63,53,64,53],[64,19,64,22],[65,1,66,2],[65,3,66,12],[65,13,66,17],[65,19,65,22],[65,23,66,25],[65,26,66,29],[65,30,66,33],[65,34,66,37],[65,38,66,38],[65,39,66,39],[65,40,66,43],[65,44,66,47],[65,48,66,51],[65,52,66,52],[65,53,66,53],[66,19,66,22],[67,1,68,2],[67,3,68,12],[67,13,68,17],[67,19,67,22],[67,23,68,25],[67,26,68,29],[67,30,68,33],[67,34,68,37],[67,38,68,38],[67,39,68,39],[67,40,68,43],[67,44,68,47],[67,48,68,51],[67,52,68,52],[67,53,68,53],[68,19,68,22],[69,1,70,2],[69,3,70,12],[69,13,70,17],[69,19,69,22],[69,23,70,25],[69,26,70,29],[69,30,70,33],[69,34,70,37],[69,38,70,38],[69,39,70,39],[69,40,70,43],[69,44,70,47],[69,48,70,51],[69,52,70,52],[69,53,70,53],[70,19,70,22],[71,1,72,2],[71,3,72,12],[71,13,72,17],[71,19,71,22],[71,23,72,25],[71,26,72,29],[71,30,72,33],[71,34,72,37],[71,38,72,38],[71,39,72,39],[71,40,72,43],[71,44,72,47],[71,48,72,51],[71,52,72,52],[71,53,72,53],[72,19,72,22],[73,1,74,2],[73,3,74,12],[73,13,74,17],[73,19,73,22],[73,23,74,25],[73,26,74,29],[73,30,74,33],[73,34,74,37],[73,38,74,38],[73,39,74,39],[73,40,74,43],[73,44,74,47],[73,48,74,51],[73,52,74,52],[73,53,74,53],[74,19,74,22],[75,1,76,2],[75,3,76,12],[75,13,76,17],[75,19,75,22],[75,23,76,25],[75,26,76,29],[75,30,76,33],[75,34,76,37],[75,38,76,38],[75,39,76,39],[75,40,76,43],[75,44,76,47],[75,48,76,51],[75,52,76,52],[75,53,76,53],[76,19,76,22],[78,0,78,54]]}
[]
[]
[]
[null,"Position",null,"Qualitative and quantitative measurement results",{"$nulls":22},"Supplier measurement",{"$nulls":13},"Ziehm measurement"]
[]
[{"$nulls":3},"Typ",{"$nulls":9},"Value",{"$nulls":4},"Tolerance",{"$nulls":4},"Unit",null,null,"Sample 1",{"$nulls":3},"Sample 2",{"$nulls":3},"Sample 3",{"$nulls":3},"Pass","Fail","Sample 1",{"$nulls":3},"Sample 2",{"$nulls":3},"Sample 3",{"$nulls":3},"Pass","Fail"]
[]
[null,{"v":26,"d":"026"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":27,"d":"027"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":28,"d":"028"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":29,"d":"029"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":30,"d":"030"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":31,"d":"031"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":32,"d":"032"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":33,"d":"033"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":34,"d":"034"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":35,"d":"035"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":36,"d":"036"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":37,"d":"037"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":38,"d":"038"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":39,"d":"039"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":40,"d":"040"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":41,"d":"041"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":42,"d":"042"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":43,"d":"043"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":44,"d":"044"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":45,"d":"045"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":46,"d":"046"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":47,"d":"047"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":48,"d":"048"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":49,"d":"049"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":50,"d":"050"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":51,"d":"051"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":52,"d":"052"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":53,"d":"053"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":54,"d":"054"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":55,"d":"055"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":56,"d":"056"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":57,"d":"057"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":58,"d":"058"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":59,"d":"059"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":60,"d":"060"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[]
["Applicable document to following agreements: Quality assurance agreement; Supplier Guide: Qualification and approval of new or modified supplier/raw material relationships."]

{"sheet":"Inspection report (3)","index":5,"n_rows":79,"n_cols":54,"rows_kept":79,"merged":[[3,1,6,2],[3,3,4,25],[3,26,4,39],[3,40,4,53],[5,3,6,12],[5,13,6,17],[5,18,6,22],[5,23,6,25],[5,26,6,29],[5,30,6,33],[5,34,6,37],[5,38,6,38],[5,39,6,39],[5,40,6,43],[5,44,6,47],[5,48,6,51],[5,52,6,52],[5,53,6,53],[7,1,8,2],[7,3,8,12],[7,13,8,17],[7,19,7,22],[7,23,8,25],[7,26,8,29],[7,30,8,33],[7,34,8,37],[7,38,8,38],[7,39,8,39],[7,40,8,43],[7,44,8,47],[7,48,8,51],[7,52,8,52],[7,53,8,53],[8,19,8,22],[9,1,10,2],[9,3,10,12],[9,13,10,17],[9,19,9,22],[9,23,10,25],[9,26,10,29],[9,30,10,33],[9,34,10,37],[9,38,10,38],[9,39,10,39],[9,40,10,43],[9,44,10,47],[9,48,10,51],[9,52,10,52],[9,53,10,53],[10,19,10,22],[11,1,12,2],[11,3,12,12],[11,13,12,17],[11,19,11,22],[11,23,12,25],[11,26,12,29],[11,30,12,33],[11,34,12,37],[11,38,12,38],[11,39,12,39],[11,40,12,43],[11,44,12,47],[11,48,12,51],[11,52,12,52],[11,53,12,53],[12,19,12,22],[13,1,14,2],[13,3,14,12],[13,13,14,17],[13,19,13,22],[13,23,14,25],[13,26,14,29],[13,30,14,33],[13,34,14,37],[13,38,14,38],[13,39,14,39],[13,40,14,43],[13,44,14,47],[13,48,14,51],[13,52,14,52],[13,53,14,53],[14,19,14,22],[15,1,16,2],[15,3,16,12],[15,13,16,17],[15,19,15,22],[15,23,16,25],[15,26,16,29],[15,30,16,33],[15,34,16,37],[15,38,16,38],[15,39,16,39],[15,40,16,43],[15,44,16,47],[15,48,16,51],[15,52,16,52],[15,53,16,53],[16,19,16,22],[17,1,18,2],[17,3,18,12],[17,13,18,17],[17,19,17,22],[17,23,18,25],[17,26,18,29],[17,30,18,33],[17,34,18,37],[17,38,18,38],[17,39,18,39],[17,40,18,43],[17,44,18,47],[17,48,18,51],[17,52,18,52],[17,53,18,53],[18,19,18,22],[19,1,20,2],[19,3,20,12],[19,13,20,17],[19,19,19,22],[19,23,20,25],[19,26,20,29],[19,30,20,33],[19,34,20,37],[19,38,20,38],[19,39,20,39],[19,40,20,43],[19,44,20,47],[19,48,20,51],[19,52,20,52],[19,53,20,53],[20,19,20,22],[21,1,22,2],[21,3,22,12],[21,13,22,17],[21,19,21,22],[21,23,22,25],[21,26,22,29],[21,30,22,33],[21,34,22,37],[21,38,22,38],[21,39,22,39],[21,40,22,43],[21,44,22,47],[21,48,22,51],[21,52,22,52],[21,53,22,53],[22,19,22,22],[23,1,24,2],[23,3,24,12],[23,13,24,17],[23,19,23,22],[23,23,24,25],[23,26,24,29],[23,30,24,33],[23,34,24,37],[23,38,24,38],[23,39,24,39],[23,40,24,43],[23,44,24,47],[23,48,24,51],[23,52,24,52],[23,53,24,53],[24,19,24,22],[25,1,26,2],[25,3,26,12],[25,13,26,17],[25,19,25,22],[25,23,26,25],[25,26,26,29],[25,30,26,33],[25,34,26,37],[25,38,26,38],[25,39,26,39],[25,40,26,43],[25,44,26,47],[25,48,26,51],[25,52,26,52],[25,53,26,53],[26,19,26,22],[27,1,28,2],[27,3,28,12],[27,13,28,17],[27,19,27,22],[27,23,28,25],[27,26,28,29],[27,30,28,33],[27,34,28,37],[27,38,28,38],[27,39,28,39],[27,40,28,43],[27,44,28,47],[27,48,28,51],[27,52,28,52],[27,53,28,53],[28,19,28,22],[29,1,30,2],[29,3,30,12],[29,13,30,17],[29,19,29,22],[29,23,30,25],[29,26,30,29],[29,30,30,33],[29,34,30,37],[29,38,30,38],[29,39,30,39],[29,40,30,43],[29,44,30,47],[29,48,30,51],[29,52,30,52],[29,53,30,53],[30,19,30,22],[31,1,32,2],[31,3,32,12],[31,13,32,17],[31,19,31,22],[31,23,32,25],[31,26,32,29],[31,30,32,33],[31,34,32,37],[31,38,32,38],[31,39,32,39],[31,40,32,43],[31,44,32,47],[31,48,32,51],[31,52,32,52],[31,53,32,53],[32,19,32,22],[33,1,34,2],[33,3,34,12],[33,13,34,17],[33,19,33,22],[33,23,34,25],[33,26,34,29],[33,30,34,33],[33,34,34,37],[33,38,34,38],[33,39,34,39],[33,40,34,43],[33,44,34,47],[33,48,34,51],[33,52,34,52],[33,53,34,53],[34,19,34,22],[35,1,36,2],[35,3,36,12],[35,13,36,17],[35,19,35,22],[35,23,36,25],[35,26,36,29],[35,30,36,33],[35,34,36,37],[35,38,36,38],[35,39,36,39],[35,40,36,43],[35,44,36,47],[35,48,36,51],[35,52,36,52],[35,53,36,53],[36,19,36,22],[37,1,38,2],[37,3,38,12],[37,13,38,17],[37,19,37,22],[37,23,38,25],[37,26,38,29],[37,30,38,33],[37,34,38,37],[37,38,38,38],[37,39,38,39],[37,40,38,43],[37,44,38,47],[37,48,38,51],[37,52,38,52],[37,53,38,53],[38,19,38,22],[39,1,40,2],[39,3,40,12],[39,13,40,17],[39,19,39,22],[39,23,40,25],[39,26,40,29],[39,30,40,33],[39,34,40,37],[39,38,40,38],[39,39,40,39],[39,40,40,43],[39,44,40,47],[39,48,40,51],[39,52,40,52],[39,53,40,53],[40,19,40,22],[41,1,42,2],[41,3,42,12],[41,13,42,17],[41,19,41,22],[41,23,42,25],[41,26,42,29],[41,30,42,33],[41,34,42,37],[41,38,42,38],[41,39,42,39],[41,40,42,43],[41,44,42,47],[41,48,42,51],[41,52,42,52],[41,53,42,53],[42,19,42,22],[43,1,44,2],[43,3,44,12],[43,13,44,17],[43,19,43,22],[43,23,44,25],[43,26,44,29],[43,30,44,33],[43,34,44,37],[43,38,44,38],[43,39,44,39],[43,40,44,43],[43,44,44,47],[43,48,44,51],[43,52,44,52],[43,53,44,53],[44,19,44,22],[45,1,46,2],[45,3,46,12],[45,13,46,17],[45,19,45,22],[45,23,46,25],[45,26,46,29],[45,30,46,33],[45,34,46,37],[45,38,46,38],[45,39,46,39],[45,40,46,43],[45,44,46,47],[45,48,46,51],[45,52,46,52],[45,53,46,53],[46,19,46,22],[47,1,48,2],[47,3,48,12],[47,13,48,17],[47,19,47,22],[47,23,48,25],[47,26,48,29],[47,30,48,33],[47,34,48,37],[47,38,48,38],[47,39,48,39],[47,40,48,43],[47,44,48,47],[47,48,48,51],[47,52,48,52],[47,53,48,53],[48,19,48,22],[49,1,50,2],[49,3,50,12],[49,13,50,17],[49,19,49,22],[49,23,50,25],[49,26,50,29],[49,30,50,33],[49,34,50,37],[49,38,50,38],[49,39,50,39],[49,40,50,43],[49,44,50,47],[49,48,50,51],[49,52,50,52],[49,53,50,53],[50,19,50,22],[51,1,52,2],[51,3,52,12],[51,13,52,17],[51,19,51,22],[51,23,52,25],[51,26,52,29],[51,30,52,33],[51,34,52,37],[51,38,52,38],[51,39,52,39],[51,40,52,43],[51,44,52,47],[51,48,52,51],[51,52,52,52],[51,53,52,53],[52,19,52,22],[53,1,54,2],[53,3,54,12],[53,13,54,17],[53,19,53,22],[53,23,54,25],[53,26,54,29],[53,30,54,33],[53,34,54,37],[53,38,54,38],[53,39,54,39],[53,40,54,43],[53,44,54,47],[53,48,54,51],[53,52,54,52],[53,53,54,53],[54,19,54,22],[55,1,56,2],[55,3,56,12],[55,13,56,17],[55,19,55,22],[55,23,56,25],[55,26,56,29],[55,30,56,33],[55,34,56,37],[55,38,56,38],[55,39,56,39],[55,40,56,43],[55,44,56,47],[55,48,56,51],[55,52,56,52],[55,53,56,53],[56,19,56,22],[57,1,58,2],[57,3,58,12],[57,13,58,17],[57,19,57,22],[57,23,58,25],[57,26,58,29],[57,30,58,33],[57,34,58,37],[57,38,58,38],[57,39,58,39],[57,40,58,43],[57,44,58,47],[57,48,58,51],[57,52,58,52],[57,53,58,53],[58,19,58,22],[59,1,60,2],[59,3,60,12],[59,13,60,17],[59,19,59,22],[59,23,60,25],[59,26,60,29],[59,30,60,33],[59,34,60,37],[59,38,60,38],[59,39,60,39],[59,40,60,43],[59,44,60,47],[59,48,60,51],[59,52,60,52],[59,53,60,53],[60,19,60,22],[61,1,62,2],[61,3,62,12],[61,13,62,17],[61,19,61,22],[61,23,62,25],[61,26,62,29],[61,30,62,33],[61,34,62,37],[61,38,62,38],[61,39,62,39],[61,40,62,43],[61,44,62,47],[61,48,62,51],[61,52,62,52],[61,53,62,53],[62,19,62,22],[63,1,64,2],[63,3,64,12],[63,13,64,17],[63,19,63,22],[63,23,64,25],[63,26,64,29],[63,30,64,33],[63,34,64,37],[63,38,64,38],[63,39,64,39],[63,40,64,43],[63,44,64,47],[63,48,64,51],[63,52,64,52],[63,53,64,53],[64,19,64,22],[65,1,66,2],[65,3,66,12],[65,13,66,17],[65,19,65,22],[65,23,66,25],[65,26,66,29],[65,30,66,33],[65,34,66,37],[65,38,66,38],[65,39,66,39],[65,40,66,43],[65,44,66,47],[65,48,66,51],[65,52,66,52],[65,53,66,53],[66,19,66,22],[67,1,68,2],[67,3,68,12],[67,13,68,17],[67,19,67,22],[67,23,68,25],[67,26,68,29],[67,30,68,33],[67,34,68,37],[67,38,68,38],[67,39,68,39],[67,40,68,43],[67,44,68,47],[67,48,68,51],[67,52,68,52],[67,53,68,53],[68,19,68,22],[69,1,70,2],[69,3,70,12],[69,13,70,17],[69,19,69,22],[69,23,70,25],[69,26,70,29],[69,30,70,33],[69,34,70,37],[69,38,70,38],[69,39,70,39],[69,40,70,43],[69,44,70,47],[69,48,70,51],[69,52,70,52],[69,53,70,53],[70,19,70,22],[71,1,72,2],[71,3,72,12],[71,13,72,17],[71,19,71,22],[71,23,72,25],[71,26,72,29],[71,30,72,33],[71,34,72,37],[71,38,72,38],[71,39,72,39],[71,40,72,43],[71,44,72,47],[71,48,72,51],[71,52,72,52],[71,53,72,53],[72,19,72,22],[73,1,74,2],[73,3,74,12],[73,13,74,17],[73,19,73,22],[73,23,74,25],[73,26,74,29],[73,30,74,33],[73,34,74,37],[73,38,74,38],[73,39,74,39],[73,40,74,43],[73,44,74,47],[73,48,74,51],[73,52,74,52],[73,53,74,53],[74,19,74,22],[75,1,76,2],[75,3,76,12],[75,13,76,17],[75,19,75,22],[75,23,76,25],[75,26,76,29],[75,30,76,33],[75,34,76,37],[75,38,76,38],[75,39,76,39],[75,40,76,43],[75,44,76,47],[75,48,76,51],[75,52,76,52],[75,53,76,53],[76,19,76,22],[78,0,78,54]]}
[]
[]
[]
[null,"Position",null,"Qualitative and quantitative measurement results",{"$nulls":22},"Supplier measurement",{"$nulls":13},"Ziehm measurement"]
[]
[{"$nulls":3},"Typ",{"$nulls":9},"Value",{"$nulls":4},"Tolerance",{"$nulls":4},"Unit",null,null,"Sample 1",{"$nulls":3},"Sample 2",{"$nulls":3},"Sample 3",{"$nulls":3},"Pass","Fail","Sample 1",{"$nulls":3},"Sample 2",{"$nulls":3},"Sample 3",{"$nulls":3},"Pass","Fail"]
[]
[null,{"v":62,"d":"062"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":63,"d":"063"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":63,"d":"063"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":64,"d":"064"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":65,"d":"065"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":66,"d":"066"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":67,"d":"067"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":68,"d":"068"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":69,"d":"069"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":70,"d":"070"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":71,"d":"071"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":72,"d":"072"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":73,"d":"073"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":74,"d":"074"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":75,"d":"075"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":76,"d":"076"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":77,"d":"077"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":78,"d":"078"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":79,"d":"079"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":80,"d":"080"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":81,"d":"081"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":82,"d":"082"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":83,"d":"083"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":84,"d":"084"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":85,"d":"085"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":86,"d":"086"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":87,"d":"087"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":88,"d":"088"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":89,"d":"089"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":90,"d":"090"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":91,"d":"091"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":92,"d":"092"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":93,"d":"093"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":94,"d":"094"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[null,{"v":95,"d":"095"},{"$nulls":16},"+"]
[{"$nulls":18},"-"]
[]
["Applicable document to following agreements: Quality assurance agreement; Supplier Guide: Qualification and approval of new or modified supplier/raw material relationships."]

{"sheet":"Historie","index":6,"n_rows":4,"n_cols":5,"rows_kept":4}
["Version ","ggf. ECR#","Beschreibung ","Autor","Datum"]
[1,"n.a.","1:1 Übertrag ins SAP ECTR auf Basis FB7.4-20 Version A","see DMS","see DMS"]
[2,null,null,"see DMS","see DMS"]
[3,null,null,"see DMS","see DMS"]